## Slide 1: Annual Fire Training/Recap
Knowle Centre for Freemasonry

## Slide 2: Key and Unique difficulties to be addressed when meeting at most masonic Centres.
There are some key themes to think about when going through this session such as
KMC is an unmanned building and hence there are no KMC employees or contractors present to direct you should a fire arise. You need to familiarise yourself with the warnings, signs, procedures and meeting places.
As a result, Lodges are responsible for their own safety activities and execution of practices whilst meeting at KMC. In the absence of a specific fire officer in the lodge the WM is the ‘responsible officer’ for ensuring safety in such situations
Visitors to your Lodge depend upon you, to guide them to safety
Please familiarise yourselves with the Fire procedures and preferably appoint a fire officer. Many Lodges don’t and this is recommended.
There are many infirm, disabled or frail masons attending meetings. Please provide adequate options for those people.
Think about how to apply the procedures not only for Lodge meetings/LOI but also for Festive Boards and for Officers meetings. Do you take a register of attending people for such meetings?

## Slide 3: Key Responsibilities
Temple
To provide fire safety and evacuation processes
To provide a fire warning system (alarm) and adequate alarm activation points
To provide sufficient escape routes and exits incl emergency lighting
To provide instructions for every meeting
To provide evacuation choices/processes
To provide a regular fire safety risk assessment
To provide ‘safe’ meeting points on evacuation
To provide ‘last resort’ Fire extinguishers should they be required.
Providing Fire partition barriers where necessary.
Unit Meeting at KMC
To provide a list of attendees at every meeting for use in evacuation
To ensure all attendees and members are aware of the fire safety processes before starting a meeting and generally in any case. Do you distribute them to all members?
To ensure all evacuation and recording processes are executed upon an incident
To not store anything flammable in their storage lockers (incl alcohol or matches)
To provide insurance for your own belongings incl. honors boards.
To provide contingency for less physically able attendees.
Do not block escape routes (with disabled scooters, equipment or people)

## Slide 4: KMC Communication of Fire Safety Instructions
Fire Safety Instructions – instructions which have been left on the Secretary’s desk are to be read out before each meeting starts. That is the duty of the Lodge. They explain escape routes, meeting places, actions upon an incident
The KMC website has a You Tube video of what to do in a fire – please watch/understand and encourage all your members to watch. It is under the about section and called ‘Fire Evacuation Procedures’
Fire Exits are clearly marked in statutory form
Fire Evacuation diagrams are displayed in the Lodge room (back of door), Robing Room (back of door), meeting rooms, dining room fire exit and front door. Fire Doors use statutory unlockable bar release mechanisms.
An Annual session is held at the September Liaison meeting to recap on processes and to answer any questions people may have prior to the start of any masonic season. It is your duty to attend!!

## Slide 5: Key Processes and Safety Rules
It should be noted that Fire alarm testing by our contractors only occurs when KMC is empty so if you hear an alarm then ASSUME it is REAL.
If you smell or suspect a fire and it is safe to do so, then then activate one of the fire alarms – better to be safe than sorry. They are clearly marked ‘break glass’ style and in sufficient supply around the building.
Follow the instructions of the Lodges nominated officer in such circumstances.
Evacuate immediately by the nearest fire exit (clearly marked). Do not attempt to fight the fire. Ensure you have your roll call with you. Do not attempt to take personal belongings.
There is a ramp for wheelchairs or less able for the small step in the lodge room leading to the fire exits. Externally all exits are light by motion sensor lights to ensure your route is well lit.
There is a break glass hammer if needed in each meeting room.
Meet at the Evacuation meeting point (marked area in the car park). Stay off the main road and do not get in the way of the path for emergency vehicles. As it is extremely dangerous.
Do NOT re-enter the buikding,

## Slide 6: Further advisable notes……
In a fire situation someone in the Lodge MUST take charge and start to give direction to follow fire safety procedures and oversee execution of them.
Should the room fill with smoke try to exit by the lowest point of escape (eg the floor)
Don’t be tempted to open doors (except fire doors) when a fire is in train – this could ‘let the fire in’ and give it more oxygen.
Should anyone be injured and hence immobile, appoint people to evacuate them as best as possible if indeed possible
Should there be less physically-able people in attendance then allocate ‘buddies’ to ensure they evacuate as quickly as able
Only apply first aid to the extent you are qualified to do so – otherwise await the emergency services.
It may be worth Lodges keeping their ‘tylers book’ inside the Lodge room as it may not be possible to retrieve it in a fire. That record is the primary record of attendees for the post evacuation roll call.

## Slide 7: In Simple Terms DO the following…
Raise & Activate Alarm (if not already)
Evacuate
Call emergency Services
Account for all attendees at Evacuation point
Await Emergency Services to receive further instruction but do not re-enter until given permission from emergency services and do NOT get in their way – it is a safety hazard for your attendees

## Slide 8: Do Not……………..
Take your time
Panic – calmness is key in directing evacuation
Collect personal belongings
Re-enter the building once evacuated
Attempt to ‘fight the fire’ with extinguisher unless fire is very small and contained.
Forget to take your roll call with you to the evacuation point (is there a named person responsible for this?)

## Slide 9: Obvious Consequences of not following fire safety processes
Death
Serious Injury – physical or mental
Lodge members jointly and severally being liable for losses and deaths and injuries – falling on all individuals who are members of the Lodge. This could mean members having to settle claims from victims, from KMC, from individuals (whether injured or not), from other Lodges (eg if their equipment is ruined by virtue of lodges not fulfilling their responsibilities). Lease don’t be fooled by insurance – insurance companies will trace actions parties have taken to minimise the loss and then sue all relevant parties if the fire could have been prevented, injuries or death preveted, or minimised.
A long-term gap (several years at best - if not terminal) in the provision of masonry to 43 units.

## Slide 10: Questions